|  | Florida Department of Environmental Protection Bob Martinez Center 2600 Blair Stone Road Tallahassee, Florida 32399-2400 | Rick Scott Governor Jennifer Carroll Lt. Governor Herschel T. Vinyard, Jr. Secretary |
| --- | --- | --- |

Sent Via Email

April 12, 2012

Subject:	Palm Beach County Municipal Separate Storm Sewer System (MS4)

NPDES Permit No. FLS00018

Year 1, Cycle 3 Annual Report Comments - Request for Additional Information

Dear Addressees:

The Phase I MS4 team at the Florida Department of Environmental Protection (Department) has reviewed the Palm Beach County MS4 NPDES Permit Annual Reports.  The Year 1 Annual Reports submitted by the City of Delray Beach, Town of Lake Cloud, Town of Lake Clarke Shores, Town of Lantana, Town of Glen Ridge, City of Greenacres, Town of Palm Beach Shores, Palm Beach County, and the Town of Mangonia Park are administratively complete.  However, additional information is required from permittees listed in the attached Appendix A to fully satisfy Part V of the referenced permit and Rule 62-624.600, F.A.C., and therefore, the referenced annual reports are administratively incomplete.  Each permittee’s annual report will be considered administratively complete when the permittee, where applicable, provides the information requested in Appendix A.  Please provide the responses to the Department’s “Requests for Additional Information” in writing within 35 days of the date of this letter.

Based on the review of your Year 1 Annual Report, the additional information requested by the Department, and field audit results, the Department will provide an overall assessment of your compliance with annual reporting requirements specified in the referenced permit.  Selected permittees and schedules for audits will be determined pending the Department’s receipt and analysis of responses to requests for additional information.  At this time, we likely will conduct the audits during the Week of June 18.  Correspondence concerning the Department’s review of your Standard Operating Procedures (SOPs), submitted by each permittee for approval, will be mailed to all permittees in the near future.

ALL PERMITTEES – Reminders to minimize needed follow-up work by all parties

All permittees are reminded of the following requirements associated with successfully completing your Annual Reports:

- Section VII, Part III.A.7.c (illicit discharge training) and Part III.A.7.d (spill reporting) require the permittee to train employees, including contractors, to recognize and report conditions indicative of illicit discharge and spills.  The intent of this permit requirement is to train contractors, conducting routine maintenance activities in areas where they may be exposed to illicit discharges or spills, to recognize and report conditions indicative of illicit discharge and spill events.  The Department recommends that each permittee consider the following criteria as you continue to implement these permit requirements during the current reporting year:

- If the permittee does not employ contractors to conduct routine maintenance work in the MS4, for example, mowing, litter collection, etc.,  a “0” may be reported for contractor training activities with a corresponding explanation in Column F “Comments” of the Annual Report form.

- Secondly, if permittees do employ contractors, but their activities are in places where exposure to illicit discharges or spills is unlikely, then a “0” accompanied by an explanation in Column F “Comments” is also acceptable.

- Where contractors are hired for field activities, which may expose workers to illicit discharges or spills, then permittees may: 1) Conduct one training session a year, with invitations to workers either under contract or recently under contract, to satisfy this requirement, or 2) Include training requirements in the appropriate contracts.

- Finally, the Department plans to enlist a web-based training and certification program to assist permittees with contractor-training requirements in calendar-year 2013.

- Section VII, Part III.A.1 of the Annual Report form requires permittees to maintain an inventory of all structural controls listed in Table II.A.1.a of the permit, including an inventory (list) and map of major outfalls.

If you have any questions or need any assistance, please do not hesitate to contact a member of the Department’s Phase I MS4 team:  Heather Ritchie by phone at (850) 245-7523 or by email at Heather.Ritchie@dep.state.fl.us: Ken Kuhl by phone (850/245-7561 or by email at Kenneth.Kuhl@dep.state.fl.us: or me by phone 850/245-8430 or by email at Eric.Livingston@dep.state.fl.us.

Sincerely,

Eric H. Livingston

Program Administrator

NPDES Stormwater Section

EHL/kak

Enc: 	Appendix A – Palm Beach County MS4 NPDES Permit Year 1 Annual Report Comments - Request for Additional Information

Addressees:	Mo Thornton, City of Atlantis

Lomax Harrelle, City of Belle Glade

Tony J. Puerta, City of Boca Raton

Kofi A. Boateng, P.E., City of Boynton Beach

David T. Harden, City of Delray Beach

Carlos Cedeno, City of Greenacres

Jamie B. Brown, City of Lake Worth

Derrek Moore, City of Pahokee

Todd Engle, P.E., City of Palm Beach Gardens

Brynt Johnson, City of Riviera Beach

Corey Alston, City of South Bay

David Hanks, City of West Palm Beach

Maria Connolly, FDOT District Four

Jose Quintana, P.E., FDOT Florida’s Turnpike Enterprise

Tanya Quickel, Indian Trail Improvement District

O’Neil Bardin, Northern Palm Beach County Improvement District

Robert Weisman, Palm Beach County

Michael A. Dillon, South Indian River Water Control District

Donna Erisey, Town of Cloud Lake

Michelle Suiter, Town of Glen Ridge

William H. Thrasher, Town of Gulf Stream

Jay Foy, Town of Haverhill

Kathleen D. Weiser, Town of Highland Beach

Kenneth M. Schultz, Town of Hypoluxo

Joseph F. Lo Bello, Town of Juno Beach

David Rotar, Town of Jupiter

Daniel J. Comerford III, Town of Jupiter Inlet Colony

Daniel P. Clark, Town of Lake Clarke Shores

Jamie S. Titcomb, Town of Lake Park

Michael Bornstein, Town of Lantana

Linda Stumpf, Town of Manalapan

William H. Albury III, Town of Mangonia Park

Kenneth Schenck, Town of Ocean Ridge

Peter B. Elwell, Town of Palm Beach

John Workman, Town of Palm Beach Shores

Rex Taylor, Town of South Palm Beach

Jorge Santos, Village of North Palm Beach

Bob Hennes, Village of Palm Springs

Paul L. Webster, P.E., Village of Royal Palm Beach

Russel White, Village of Tequesta

Mitchell W. Fleury, Village of Wellington

Ccs:	Steven Mazuk, City of Atlantis

Mickey McGahee, City of Belle Glade

Christopher J. Roschek, P.E., City of Boynton Beach

Randal Krejcarek, P.E., City of Delray Beach

Michael Grimm, City of Greenacres

Horace Towns, City of Lake Worth

Alvin Johnson, City of Pahokee

Jevon White, City of Riviera Beach

Edgar Kerr, City of South Bay

Benny Rodgers, City of West Palm Beach

Ivette Leiva, FDOT District Four

Jeremiah Marek, FDOT Florida’s Turnpike Enterprise

Lina Camacho, Indian Trail Improvement District

Jared Kneiss, Northern Palm Beach County Improvement District

Karen Brandon, South Indian River Water Control District

Bonnie Finneran, Palm Beach County

Dorothy C. Gravelin, Town of Cloud Lake

Joseph Roche, Town of Haverhill

Jack Lee, Town Highland Beach

Leonard G. Rubin, Town of Hypoluxo

Anthony Meriano, Town of Juno Beach

John Pruitt, Town of Jupiter Inlet Colony

Kevin Varney, Town of Lake Clarke Shores

David Hunt, Town of Lake Park

Jerry Darr, Town of Lantana

Lisa Petersen, Town of Manalapan

Lee Leffingwell, Town of Mangonia Park

Lina Camacho, Town of Ocean Ridge

Martin Gauthier, Town of Palm Beach

Walter Fleming, Town of Palm Beach Shores

Jodi Nentwick, Village of North Palm Beach

Lina Camacho, Village of Palm Springs

AlanWertepny, P.E., Mock Roos and Associates, Inc.

Jane Hayes, Mock Roos and Associates, Inc.

APPENDIX A

Palm Beach County MS4 NPDES Permit Year 1 Annual Report Comments

Requests for Additional Information

The Department has determined that additional information is needed to properly assess and evaluate the completeness of the following MS4 NPDES Permit Annual Reports.  The Annual Reports will be considered administratively complete when the permittee provides satisfactory written responses to the “Requests for Additional Information” detailed below.  Please provide the responses in writing to the Department within 35 days of the date of this letter.  Thank you.

City of Atlantis

- Section VII, Part III.A.7.c of the Annual Report form requires the permittee to report the number of illicit discharge inspections performed during the reporting period.  Provide the number of illicit discharge inspections performed as required by this section of the Annual Report or explain why inspections were not performed in Column F “Comments”.

City of Belle Glade

- Section VII, Part III.A.1 of the Annual Report form requires the permittee to report the number of structural control inspections performed during the reporting period.  Provide the number of inspections performed for MS4 pipes and major outfalls or explain why inspections were not performed in Column F “Comments”.

- Section VII, Part III.A.7.c of the Annual Report form requires the permittee to report proactive and reactive illicit discharge inspections separately.  The permittee apparently reported the same inspection as both a proactive and a reactive inspection.  Report the proactive and reactive illicit discharges separately, as required by this section of the annual report form.

- Section VII, Part III.A.8.a of the Annual Report form requires permittees to inventory high risk facilities and inspect facilities according to priorities and schedules contained in the City’s Standard Operating Procedures (existing or new).  Provide the number of inspections performed during the reporting period or explain why inspections have not been performed in Column F “Comments” of the Annual Report.

City of Boca Raton

- Section VII, Part III.A.8.a of the Annual Report form requires permittees to inventory high risk facilities and inspect facilities according to priorities and schedules contained in the City’s Standard Operating Procedures (existing or new).  Provide the number of inspections performed during the reporting period or explain why inspections have not been performed in Column F “Comments” of the Annual Report.

City of Boynton Beach

- Section VII, Part III.A.9.b of the Annual Report form requires the permittee to report the number of inspections conducted on the 6 active permittee construction sites and the 5 active private construction sites during the reporting period.  Explain why only 6 and 5 inspections were conducted on the 6 permittee construction sites and the 5 private construction sites, respectively.

FDOT District Four

- Section IV, Fiscal Analysis, of the Annual Report form requires the permittee to explain the impact of budget reductions on the municipality’s capacity to fully implement their SWMP.  Since the budget reduction appears to be significant compared to the District’s prior-year budget, provide a summary of potential impacts to your stormwater program.

- Section VII, Part III.A.9.b of the Annual Report form requires the permittee to report the number of inspections conducted on active permittee and private construction sites.  The District reported 34 active private construction sites and 34 associated inspections.  Explain why only 34 inspections were conducted on the 34 private construction sites during the reporting period.

FDOT Turnpike Enterprise

- Section VII, Part III.A.7.c of the Annual Report form requires the permittee to conduct and report proactive and illicit discharge inspections annually within the MS4.  If these activities are conducted by another entity or municipality, then the permittee remains responsible to report these required inspection activities.  If no inspections were conducted during the reporting period, whether proactive or reactive, then a complete explanation must be provided in Column F “Comments”.  Provide explanations for the “0” activities performed in the proactive and reactive sections of Part III.A.7.c of the Annual Report.

- Section VII, Part III.A.7.d of the Annual Report form requires the permittee to train employees and contractors working in the MS4 on required procedures to report spills.  This training can be as simple as explaining the necessary contacts should a spill be encountered, and whether containment or other responses are authorized.  Explain how the FDOT Turnpike Enterprise plans to satisfy the personnel- training requirement during the current reporting period.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the permittee’s jurisdiction, even when performed by a third party (wastewater operator, municipality, and/or the county health department).  Provide the information required by this section of the Annual Report or adequately explain activities not performed in Column F “Comments” of the Annual Report.

Town of Gulf Stream

- Section VII, Part III.A.7.c of the Annual Report form, in reference to illicit discharge training, requires the permittee to report the name of the Documentation or Record in “Column D” and the Entity Performing the Activity in “Column E” of the Annual Report form.  Provide the information required in Column D and E for this section of the Annual Report.

- Section VII, Part III.A.9.a of the Annual Report form requires the permittee to report the site-plan applicants which were notified and confirmed in regards to CGP and ERP requirements.  The permittee reported “0” for CGP and ERP confirmations with a comment that approved projects did not exceed minimum thresholds for an ERP.  Explain why a CGP for the one approved project was not confirmed since different thresholds apply to CGP than to ERP.

Town of Haverhill

- Section VII, Part III. 9 requires the permittee to report documentation titles and the entity performing permit activities, in Columns D and E, respectively, for each activity performed. Provide the information required in Columns D and E, Section VII, Part III.A.9.a & 9.b of the Annual Report form related to documentation titles and the responsible entity.  In addition, provide the appropriate comments in Column F “Comments” of the same section to explain why required activities were not performed for the period.

Town of Highland Beach

- Section VII, Part III.A.9.a & 9.b of the Annual Report form requires the permittee to explain why required activities were not performed in Column F, “Comments”.  In addition, Column D “Documentation/Record” and Column E “Entity Performing the Activity” should be completed.  Provide the information required in these two sections (Part III.A.9.a & 9.b.) of the Annual Report.

Town of Hypoluxo

- Section VII.A.7.g of the Annual Report form requires the permittee to obtain and report the SSO-incident information, germane to the municipality, from the appropriate sanitary sewer system operator (City of Boynton Beach).  Provide the necessary information to properly complete this section of the annual report.  If activities required by the this section were not performed provide an  explanation in Column F “Comments” of the Annual Report.

- Similarly, Section VII, Part III.A.9.c of the Annual Report form requires the permittee to obtain and report the Construction Site Runoff training activities performed by another entity for the Town’s employees and/or contractors.  Provide the training-activity information required by this section of the Annual Report or explain why required activities were not performed in Column F “Comments”.

Indian Trail Improvement District

- Section VII, Part III.A.1 of the Annual Report form requires the permittee to inspect 10% of the District’s inlets, catch basins, and grates each year during the Cycle 3 permit cycle.  The permittee has provided an explanation for not performing maintenance activities, related to these structures, but has not explained why inspections have not been conducted.  Provide the number of inspections or an explanation for why these activities have not occurred.

- Section VII, Part III.A.6 of the Annual Report form requires the permittee to report the number of contractors employed by the District which apply fertilizers.  The comments provided in this section do not clearly indicate whether these activities are performed by the District, a contractor, or not performed.  Clarify the comments related to the application of fertilizers, relative to the District and contractors, as required by this section of the Annual Report.

- Section VII, Part III.A.7.c of the Annual Report form requires the permittee to report the number of proactive inspections, illicit activities discovered, and the number and type of enforcement actions performed.  Provide the information requested or the appropriate explanation in Column F “Comments” for activities not performed as required by this section of the Annual Report.

Town of Juno Beach

- Section IV, Fiscal Analysis, of the Annual Report form requires the permittee to explain the impact of budget reductions on the municipality’s capacity to fully implement their SWMP.  Since the budget reduction appears to be significant compared to the Town’s prior-year budget, provide a summary of potential impacts to your stormwater program.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report the SSO-incident information, germane to the municipality, from the appropriate sanitary sewer system operator (Loxahatchee River District).  Provide the necessary information to properly complete this section of the Annual Report or explain why no activities were performed.

- Section VII, Part III.A.9.b of the Annual Report form requires the permittee to record the number of site-plan applicants notified and confirmed regarding the requirements of both ERP and CGP stormwater permits.  The Town reports 3 active private construction sites, but comments to explain why no activities were performed, related to the notification and confirmation requirements, are absent.  Explain why the required notification and confirmation activities, related to CGP and ERP requirements, and germane to the 3 active construction sites were not performed and/or necessary.

Town of Jupiter Inlet Colony

- Section IV, Fiscal Analysis, of the Annual Report form requires the permittee to explain the impact of budget reductions on the municipality’s capacity to fully implement their SWMP.  Since the budget reduction appears to be significant compared to the Town’s prior-year budget, provide a summary of potential impacts to your stormwater program.

Town of Jupiter

- Section VII, Part III.A.1 of the Annual Report form requires the permittee to inspect 10% of the total pipes and culverts, owned and operated by the Town, annually.  Provide the number of inspections performed during the reporting year or provide an explanation for why inspections were not conducted in Column F “Comments”.

- Section VII, Part III.A.3 of the Annual Report form and Part III.A.3 of the permit require permittees to implement a litter control program for public streets, roads, and highways, including rights-of-way within the Town’s jurisdiction.  Report the frequency, extent (e.g., square footage or road miles), and an estimate of the amount of litter collected during the reporting period.  If activities required by this section of the Annual Report are not performed, explain why these activities were not performed and how the Town plans to comply with this permit element during the current reporting period.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the permittee’s jurisdiction, even when performed by a third party (wastewater operator, municipality, and/or the county health department).  Provide the information required by this section of the Annual Report or adequately explain activities not performed in Column F “Comments” of the Annual Report.

Section VII, Part III.A.9.a of the Annual Report form and Part III.A.9.a of the permit require the permittee to report the number of site plans reviewed and approved for appropriate stormwater, erosion, and sediment controls.  Please explain your comment that the Town reviews plans but does not approve them. As part of your explanation, please provide a copy of the Town’s SOPs for conducting the pre-construction site plan review process.

- Denial of Town’s Request to Delete Parts III.A.5 & III.A.7.g – All elements of the Phase I MS4 permit, including the Municipal Waste Treatment, Storage, and Disposal Facilities Not Covered by an NPDES Stormwater Permit (Part III.A.5) and Illicit Discharges and Improper Disposal – Limitation of Sanitary Sewer Seepage (Part III.A.7.g), are required statewide and have been approved by EPA.  Changes to the permit would require reopening the permit, possible intervention by third parties, and review by EPA.  The permit requires permittees to fully explain why required elements and the associated activities have not been performed.

Town of Lake Park

- Section VII, Part III.A.1 of the Annual Report form requires the permittee to provide an inventory of structural controls owned and operated by the Town.  Report the Town’s inventory for ditches and conveyance swales or provide an appropriate explanation in Column F “Comments” if needed.

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to implement and report the frequency, extent, and amount of litter collected (estimate) during the reporting period.  Report the activities performed or explain why the required elements of this section were not performed in Column F “Comments”.

- Section VII, Part III.A.6 of the Annual Report form requires the permittee to report activities related to pesticide-application certification and /or provide adequate explanation in Column F “Comments” for activities not performed.  Report activities performed in this section or provide adequate explanation for non-performance.

- Section VII, Part III.A.7.f of the Annual Report form requires permittees to report spill incidents and to provide spill response training to employees or contractors working in the MS4.  Training may consist simply of informing employees of the proper contacts should a spill be observed.  Provide the information requested in this section of the Annual Report.   If activities are not performed, then an appropriate explanation should be reported in Column F “Comments” of the Annual Report.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities within the municipality’s jurisdiction, even if performed by a third party (Seacoast Utility Authority or the county health department).  Provide the information required by this section of the Annual Report or adequately explain non-performance in Column F “Comments”.

- Section VII, Part III.A.8.a of the Annual Report form requires permittees to inventory high risk facilities and inspect facilities according to priorities and schedules contained in the Town’s Standard Operating Procedures (existing or new).  Provide the number of inspections performed during the reporting period or an adequate explanation of why inspections have not been performed in Column F “Comments” of the Annual Report.

City of Lake Worth

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to report the frequency of street sweeping activities and the loadings of total nitrogen and phosphorus removed in pounds.  Provide the information required in this section or explain why this information is not available in Column F “Comments”.  In addition, if no street sweeping is being performed provide an explanation of why no program is necessary or possible, including the alternate BMPs used or planned to offset the load reductions not achieved through street sweeping.

- Section VII, Part III.A.5 of the Annual Report form requires the permittee to report and inspect solid waste storage facilities, including temporary storage of litter, street sweeping residuals, or other roadside debris in roll offs.  Confirm that “roll offs” referenced in the litter collection section of the annual report, related to the temporary storage of litter, are not subject to reporting and inspection as required in Part III.A.5 of the permit.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities within the municipality’s jurisdiction, even if performed by a third party (Lake Worth Utility or the county health department).  Provide the information required by this section of the Annual Report or adequately explain non-performance in Column F “Comments”.

Town of Manalapan

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to implement and report the frequency, extent, and amount of litter collected (estimate) during the reporting period.  Report the activities performed or explain why the required elements of this section were not performed in Column F “Comments”.

- Section VII, Part III.A.7.c of the Annual Report form requires the permittee to report the number of proactive inspections, illicit activities discovered, and the number and type of enforcement actions performed.  Provide the information requested or the appropriate explanation in Column F “Comments” for activities not performed as required by this section of the Annual Report.

Village of North Palm Beach

- Section IV, Fiscal Analysis, of the Annual Report form requires the permittee to explain the impact of budget reductions on the municipality’s capacity to fully implement their SWMP.  Since the budget reduction appears to be significant compared to the Village’s prior-year budget, provide a summary of potential impacts to your stormwater program.

Town of Ocean Ridge

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to report the frequency of street sweeping activities and the loadings of total nitrogen and phosphorus removed in pounds.  Provide the information required in this section or explain why this information is not available in Column F “Comments” of the Annual Report.

City of Pahokee

- Section VII, Part III.A.1 of the Annual Report form requires the permittee to inspect 10% of the total MS4 pipes and culverts, owned and operated by the City, annually.  Provide the number of inspections performed during the reporting year or provide an explanation for why inspections were not conducted in Column F “Comments”.

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to report the frequency of street sweeping activities and the loadings of total nitrogen and phosphorus removed in pounds.  We understand the City has experienced severe budget reductions and has been unable to purchase, lease, or contract the necessary equipment or services.  In addition to the explanation provided with this annual report, provide an estimate of the miles of curb and gutter associated with roadways owned and operated by the City, and documentation that the City has included funding for street-sweeping services in their Fiscal Year 2012-13 budget request.

- Section VII, Part III.A.5 of the Annual Report form requires the permittee to list facilities (yards and associated shops) which support road maintenance activities and a list of facilities (which usually consist of waste-fleet yards or yards providing temporary storage of road-side litter, street-sweeping residuals, or road-side debris).  If facilities owned and operated by the City, and subject to this Part, are operated by another entity (Glades Utility Authority), then the City remains responsible for reporting these facilities and the associated inspection activities in this Part of the Annual Report form.

- Section VII, Part III.A.6 of the Annual Report form requires City employees, which apply pesticides or herbicides to buildings or other properties, to obtain the appropriate certification from the Florida Department of Agriculture and Consumer Services.  Provide a list of the City’s employees which apply pesticides or herbicides and a description of the City’s plan and schedule to obtain the necessary certifications.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the municipality’s jurisdiction, even when performed by a third party (wastewater operator, the county health department, or a regional utility).  Provide the information required by this section of the Annual Report form or adequately explain activities not performed in Column F “Comments” of the Annual Report.

- Section VII, Part III.A.8.a of the Annual Report form requires the permittee to maintain a current inventory of all existing high risk facilities discharging into the permittee’s MS4, and to prioritize facilities for annual inspection.  Provide an explanation of why the City has reported “0” inspections for the 54 facilities inventoried.

Town of Palm Beach

- Section IV, Fiscal Analysis, of the Annual Report form requires the permittee to explain the impact of budget reductions on the municipality’s capacity to fully implement their SWMP.  Since the budget reduction appears to be significant compared to the Town’s prior-year budget, provide a summary of potential impacts to your stormwater program.

Village of Palm Springs

- Section IV, Fiscal Analysis, of the Annual Report form requires the permittee to explain the impact of budget reductions on the municipality’s capacity to fully implement their SWMP.  Since the budget reduction appears to be significant compared to the Village’s prior-year budget, provide a summary of potential impacts to your stormwater program.

Northern Palm Beach County Improvement District

- Section VII, Part III.A.1 of the Annual Report form requires permittees to report inventories, inspections, and maintenance activities on structural controls owned and operated by the District.  For clarification, the District reported 2398 inspections on 49.16 miles of conveyance canals.  Confirm that the number of inspections during the reporting period is 2398 (we assume 2,398).  Please include the proper units of inspection (e.g. miles or number of inspections).

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to implement and report the frequency, extent, and amount of litter collected (estimate) during the reporting period.  Report the activities performed or explain why the required elements of this section were not performed in Column F “Comments”.

- Section VII, Part III.A.3 of the Annual Report form requires permittees, which own and maintain streets with curb and gutter, to implement a street sweeping program in accordance with Part III.A.3 of the permit, or explain why street sweeping is not performed and the alternate BMPs used or planned to offset load reductions (estimate) normally achieved from street sweeping.  As per the District’s justification, provided subsequent to the original submittal (latest version sent 4-10-2012), no further action is required at this time.  Thank you.

City of Palm Beach Gardens

- Section VII, Part III.A.8.a of the Annual Report form requires permittees to inventory high risk facilities and inspect facilities according to priorities and schedules contained in the City’s Standard Operating Procedures (existing or new).  Provide the number of high risk facilities discharging to the City’s MS4 and inspections performed during the reporting period, or an adequate explanation of why inspections have not been performed in Column F “Comments” of the Annual Report.

- Section VII, Part III.A.9.b of the Annual Report form requires permittees to list the number of “active private construction sites” and to record the associated inspections.   The City reported 9 active private construction sites, but only 9 inspections.  Explain why the City only performed a total of 9 inspections.

City of Riviera Beach

- Section VII, Part III.A.9.b of the Annual Report form requires permittees to report the number of active construction sites (permittee) and the associated number of inspections.  The City reported 365 active construction sites (permittee) but only 295 inspections and 48 site-plan approvals.  Explain why the number of construction-site inspections performed and site-plans approved are less than the number of active sites (365).

- Section VII, Part III.A.9.c of the Annual Report form requires permittees to conduct and report training activities for site-plan reviewers, construction site operators, and private persons.  If training was not conducted during this reporting period, then the dates the last training was conducted, with the number of individuals trained in each category, should be reported in Column F “Comments” of the Annual Report.  Provide the appropriate comments or training information to complete this section of the Annual Report.

Village of Royal Palm Beach

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the municipality’s jurisdiction, even when performed by a third party (wastewater operator and/or the county health department).  Provide the information required by this section of the Annual Report or adequately explain activities not performed in Column F “Comments” of the Annual Report.

- Section VII, Part III.A.9.a of the Annual Report form requires the permittee to report the site-plan applicants which were notified and confirmed in regards to CGP and ERP requirements.  The permittee approved 2 site plans for both permittee and private construction sites (total of 4 sites), but reported “0” for ERP notifications and confirmations with no explanation in Colunm F “Comments”.  Explain why ERP notifications and confirmations were not performed.

City of South Bay

- Section VII, Parts III.A.3 and III.A.5 of the Annual Report form requires the permittee to list facilities (yards and associated shops) which support road maintenance activities and a list of facilities (which usually consist of waste-fleet yards or yards providing temporary storage of road-side litter, street-sweeping residuals, or road-side debris.  Provide an explanation for why these required elements of the permit are not applicable to the City of South Bay.  For future annual reports, please provide an explanation for either “0” activities performed and/or “N/A”.

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the municipality’s jurisdiction, even when performed by a third party (wastewater operator and/or the county health department).  Provide the information required by this section of the Annual Report or adequately explain activities not performed in Column F “Comments” of the Annual Report.

- Section VII, Part III.A.8.a of the Annual Report form requires the permittee to maintain a current inventory of all existing high risk facilities discharging into the permittee’s MS4.  Provide an explanation of why the City has reported “0” activities for this permit requirement.  If the City does not currently have facilities subject to this Part, then the explanation should include the date the referenced databases were checked, and the outcome of the search.

- Section VII, Part III.A.9.c of the Annual Report form requires the permittee to conduct and report training activities for inspectors, site-plan reviewers, and site operators.  If a “0” is reported for any activities listed, then an explanation should be provided in Column F “Comments”.  If the City is experiencing high employee turn-over rates, then “refresher” training or new certification training should be either documented or planned.  Provide an explanation for why no activities were performed, a list of current employees, including contractors, who have been previously trained or certified, and a description of how and when newer employees will be trained or certified.

South Indian River Water Control District

- Section VII, Part III.A.3 of the Annual Report form requires the permittee to implement and report the frequency, extent, and amount of litter collected (estimate) during the reporting period.  Report the activities performed or explain why the required elements of this section were not performed in Column F “Comments”.

- Section VII, Part III.A.9.(a-c) of the Annual Report form requires the permittee to report activities performed, or provide an adequate justification for non-performance, applicable to each activity, in Column F “Comments” of the Annual Report.  Complete Section VII, Part III.A.9. (a-c) of the Annual Report form.

Town of South Palm Beach

- Section VII, Part III.A.9.(a-c) of the Annual Report form requires the permittee to report activities performed, or provide an adequate justification for non-performance, applicable to each activity, in Column F “Comments” of the Annual Report.  Complete Section VII, Part III.A.9. (a-c) of the Annual Report form.

Village of Tequesta

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the municipality’s jurisdiction, even when performed by a third party (wastewater operator and/or the county health department).  Provide the information required by this section of the Annual Report or adequately explain activities not performed in Column F “Comments” of the Annual Report.

City of West Palm Beach

- Section VII, Part III.A.3 of the Annual Report form and Part III.A.3 of the permit require permittees to implement a litter control program for public streets, roads, and highways, including rights-of-way within the City’s jurisdiction.  Report the frequency, extent (e.g., square footage or road miles), and an estimate of the amount of litter collected during the reporting period.  If activities required by this section of the Annual Report are not performed, explain why these activities were not performed and how the City plans to comply with this permit element during the current reporting period.

City of Wellington

- Section VII, Part III.A.7.g of the Annual Report form requires the permittee to obtain and report SSO incidents and preventive activities performed within the municipality’s jurisdiction, even when performed by a third party (wastewater operator and/or the county health department).  Provide the information required by this section of the Annual Report or adequately explain activities not performed in Column F “Comments” of the Annual Report.

- Section VII, Part III.A.8.a of the Annual Report form requires the permittee to maintain a current inventory of all existing high risk facilities discharging into the permittee’s MS4.  Provide an explanation of why the City has reported “0” activities for this permit requirement.  If the City does not currently have facilities subject to this Part, then the explanation should include the date the referenced databases were checked, and the outcome of the search.

- Section VII, Part III.A.9.b of the Annual Report form requires the permittee to report the number of inspections conducted on the 79 active construction sites (private) during the reporting period.  Explain why only 71 inspections were conducted on the 79 private construction sites.